**Lancaster General Health**

**EMERGENCY INFORMATION**

|  |  |
| --- | --- |
| *Non-Medical Emergency*  *(chemical spill, fire)*  ***73911*** | *Medical Emergency*  ***911*** |

*LGH Project Managers*

Mark Matuzak Scott Widdall Kevin Imes Stacie Doman Nicole Derk Dana Klinepeter

717-544-1742 717-544-2398 717-544-2653 717-544-2654 717-544-4991 717-544-7252

*LGH Plant Engineering*

*717-544-7192*

*WBH/SP Facility Support Security*

*717-368-7784/717-544-3014 717-544-3334*

*LGH Safety Department*

Angie Mackley Denise Parke

717-544-4772 717-544-4844

*LGH Infection Control*

Rebecca Ponniah Deb Hess

717-544-4183 717-544-5560

CONDITION RED FIRE

Rescue anyone in the immediate area

Alarm by activating the nearest pull station

Contain the fire by closing doors in the area. Clear hallways.

Extinguish if it can be done safely OR Evacuate the area immediately

When the fire alarm activates:

Stop all activities

DO NOT move through building, except if in the process of evacuation

DO NOT use elevators

***CONDITION YELLOW EVACUATION***

**The designated meeting point upon evacuating is:**

*INSERT EVACUATION INFORMATION HERE*

**CONDITION GREY TORNADO**

Verify all loose material and debris outside is appropriately tied down and secured. Stay within the construction limits, away from windows and wait for further instruction.

**CONDITION BLACK BOMB THREAT**

If directed to evacuate, proceed to the area where directed to or proceed to the designated meeting point (listed above).